## Slide 1: Photons to images
January 3, 2018

## Slide 2: Digital imaging pipeline
Incident Photon
Silicon Atom
Released
Electron
Hole
CCD
CMOS
Electrons to voltage conversion
Photons to electrons
Voltages to gray levels
ADC

## Slide 3: Sources of noise
Photons to electrons
2. Quantum Efficiency
Electrons to voltage conversion
1. Dark current noise
Thermally generated
electrons
2. Full-well capacity
Image saturation
Voltages to gray levels
1. Read noise
Thermal noise in
read-out circuitry
2. Systematic noise
Fixed-pattern noise
Pixel readout non-uniformity
Hot-pixels
Ignore for now
1. Photon shot noise
Quantum nature of light
Expectation
Reality
Full-well
Photons
Read-noise
Dark-current

## Slide 4: Per-pixel noise model
Scene radiant power
Gain factor
Photon + Dark noise
Exposure time
Saturation
Raw pixel
value
Dark current
Read noise
Quantization
linear image formation:
Noise (Read)
Saturation level/Full-well
Gain

## Slide 5: Intensified CCD camera (ICCD): 4 Picos
Temporal Resolution: 200 ps
Stanford Computer Optics
Example image: Shows that the laser moved approximately .
Single-photon sensitivity

## Slide 6: Intensified CCD camera (ICCD): 4 Picos
Stanford Computer Optics
CCD
Intensifier
Input window
Output window
Multi-channel
Plate (MCP)
Phosphor
Photocathode
Photons
Photocathode: (peak)
MCP : electron multiplication
Phosphor : photons per electron
High-dynamic range : bits
High TE cooling (): Low-dark current

## Slide 7: Intensifier specification
Quantum-efficiency :
Dark-current :
Read-noise :
Full-well :
Quantization-bits : bits
CCD specification
Resolution :
Dynamic-range : bit
Pixel-Size :
Dark-current :
Quantum-efficiency :
MCP (amplification) :
Phosphor-efficiency : photons per
electron

## Slide 8: Pseudocode: Forward-model
[] = ScatteringMedium ()
: 2D-Point-spread function in
: Scene-reflectivity in
: Output-image in
imfilter;
[] = ICCDIntensifier ()
outputImage : Image incident on intensifier in
: (Quantum-efficiency of intensifier in )
: (Amplification of )
: (Phosphor-screen efficiency in )
: (Dark-current in )
intensifiedOutput: Intensified output-image in
[] = CCDSensor ()
: Intensified output-image in
: Output-image in
: (Quantum-efficiency of sensor in )
: (Read-noise in )
: (Full-well capacity in )
: (Dark-current in )
: (Number of bits in )
: (Gain-factor decided by which image saturates)

## Slide 9: Example forward-model

## Slide 10: Example forward-model: Output-image in pixels
Output-slice: 1
Output-slice: 6
Output-slice: 10
Output-slice: 20
(Saturated)

## Slide 11: More examples
3D-PSF1
3D-PSF2
3D-PSF3

## Slide 12: More examples
3D-PSF1
3D-PSF2
3D-PSF3

## Slide 13: More examples
Output-
slice: 1
Output-
slice: 6
Output-
slice: 10
Output-
slice: 20